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IDEAL LUX · A-LINE COLLECTION · PENDANTS · INDOOR
A-line SP1 D13 White
Powder coated metal ceiling cup. Matt white or black varnished metal diffuser white inside. Power cable coated with fabric.
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Specification
	Dimensions
	Ø 130 × H min 365 / max 2115 mm

	Lamp holder / power
	GU10 max 1 × 28W

	IP rating
	IP20 (indoor)

	Bulb included
	Yes

	Dimming
	Non-dimmable

	Insulation class
	II

	Operating temperature
	0° ~ +40 °C

	Warranty
	5 years

	Net weight
	0.33 kg

	EAN
	8021696232690

	Product code
	232690



UK retail price: £60.00 ex VAT  ·  £72.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 22-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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