|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · A-LINE COLLECTION · PENDANTS · INDOOR

A-line SP1 D30 White

Powder coated metal ceiling cup. Matt white or black varnished metal diffuser white inside. Power cable coated with fabric.

Specification

| Dimensions | Ø 300 × H min 520 / max 2270 mm |
| --- | --- |
| Lamp holder / power | E27 max 1 × 60W |
| IP rating | IP20 (indoor) |
| Bulb included | No, sold separately |
| Recommended bulb | 123899 E27 Goccia 08W 3000K Cri80 Bianco |
| Dimming | Non-dimmable |
| Insulation class | II |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 1.08 kg |
| EAN | 8021696232720 |
| Product code | 232720 |

UK retail price: £85.00 ex VAT  ·  £102.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.