|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · AGOS COLLECTION · OUTDOOR LIGHTING

Agos PT H80 3000K Black

Powder coated die-cast aluminum body. Satin clear acrylic diffuser. Anthracite, coffee or black color.

Specification

| Dimensions | L 95 × H 800 × D 150 mm (L length, H height, D depth) |
| --- | --- |
| Specification | 6,5W |
| LED lifetime | 25000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 670 lumen |
| IP rating | IP54 (outdoor rated) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 560 lm |
| Beam angle | 120*70° |
| Dimming | Non-dimmable, On-Off |
| Insulation class | I |
| Operating temperature | -15° ~ +45 °C |
| Warranty | 5 years |
| Net weight | 1.1 kg |
| EAN | 8021696326733 |
| Product code | 326733 |

UK retail price: £102.00 ex VAT  ·  £122.40 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.