|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ALI COLLECTION · WALL LIGHTS · INDOOR

Ali AP2

White acid-etched glass diffuser composed of one frontal and two side elements. Chrome glass holders.

Specification

| Dimensions | L 450 × H 140 × D 90 mm (L length, H height, D depth) |
| --- | --- |
| Lamp holder / power | E27 max 2 × 60W |
| IP rating | IP20 (indoor) |
| Bulb included | No, sold separately |
| Recommended bulb | 101286 E27 Sfera 4W 3000K Cri80 Bianco |
| Dimming | Non-dimmable |
| Insulation class | I |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 1.41 kg |
| EAN | 8021696026558 |
| Product code | 026558 |

UK retail price: £58.00 ex VAT  ·  £69.60 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 23-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.