|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ANDROMEDA COLLECTION · OUTDOOR LIGHTING

Andromeda AP1

Die-cast aluminum body light with varnish finish. Double frosted Pyrex glass, up-and-down. Available finishes: anthracite, white, coffee, grey or black.

Specification

| Dimensions | L 220 × H 90 × D 120 mm (L length, H height, D depth) |
| --- | --- |
| Lamp holder / power | E27 max 1 × 60W |
| IP rating | IP55 (outdoor rated) |
| Bulb included | No, sold separately |
| Recommended bulb | 151960 E27 Sfera 6W 4000K Cri80 Bianco |
| Dimming | Non-dimmable |
| Insulation class | I |
| Operating temperature | -15° ~ +45 °C |
| Warranty | 5 years |
| Net weight | 1 kg |
| EAN | 8021696061580 |
| Product code | 061580 |

UK retail price: £55.00 ex VAT  ·  £66.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 23-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.