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IDEAL LUX · ANDROMEDA COLLECTION · OUTDOOR LIGHTING
Andromeda AP2 Coffee
Die-cast aluminum body light with varnish finish. Double frosted Pyrex glass, up-and-down. Available finishes: anthracite, white, coffee, grey or black.
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Specification
	Dimensions
	L 450 × H 80 × D 95 mm  (L length, H height, D depth)

	Lamp holder / power
	E27 max 2 × 60W

	IP rating
	IP55 (outdoor rated)

	Bulb included
	No, sold separately

	Recommended bulb
	151960 E27 Sfera 6W 4000K Cri80 Bianco

	Dimming
	Non-dimmable

	Insulation class
	I

	Operating temperature
	-15° ~ +45 °C

	Warranty
	5 years

	Net weight
	1.63 kg

	EAN
	8021696163550

	Product code
	163550



UK retail price: £85.00 ex VAT  ·  £102.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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