|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ANGOLO COLLECTION · CEILING LIGHTS · INDOOR

Angolo PL3 Brass

Powder-coated or plated metal frame. White blown and acid-etched glass diffusers. Available finishes: black or satin brass.

Specification

| Dimensions | L 686 × H 250 × D 200 mm (L length, H height, D depth) |
| --- | --- |
| Lamp holder / power | G9 max 3 × 28W |
| IP rating | IP20 (indoor) |
| Bulb included | Yes |
| Dimming | Non-dimmable |
| Insulation class | II |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 1.65 kg |
| EAN | 8021696284330 |
| Product code | 284330 |

UK retail price: £185.00 ex VAT  ·  £222.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 23-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.