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IDEAL LUX · ANGOLO COLLECTION · TABLE LAMPS · INDOOR
Angolo TL1 Brass
Powder-coated or plated metal frame. White blown and acid-etched glass diffusers. Black PVC cable with switch and plug. Available finishes: black or satin brass.
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Specification
	Dimensions
	L 120 × H 120 × D 120 mm  (L length, H height, D depth)

	Lamp holder / power
	G9 max 1 × 28W

	IP rating
	IP20 (indoor)

	Bulb included
	Yes

	Dimming
	Non-dimmable

	Insulation class
	II

	Operating temperature
	0° ~ +40 °C

	Warranty
	5 years

	Net weight
	0.6 kg

	EAN
	8021696284361

	Product code
	284361



UK retail price: £75.00 ex VAT  ·  £90.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
299 Lighting · The Light Engineers    sales@299lighting.co.uk  ·  +44 (0) 20 3773 7530  ·  299lighting.co.uk
image2.jpg




image3.jpg




image1.png








