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IDEAL LUX · ARCADIA COLLECTION · OUTDOOR LIGHTING
Arcadia PT1 White
Powder coated metal base and stem. PMMA white diffuser. Neoprene cable with plug. Finish: white, anthracite.
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Specification
	Dimensions
	Ø 347 × H 1536 mm

	Lamp holder / power
	E27 max 1 × 42W

	IP rating
	IP44 (outdoor rated)

	Bulb included
	No, sold separately

	Recommended bulb
	151991 E27 Goccia 09W 4000K Cri80 Bianco

	Dimming
	Non-dimmable

	Insulation class
	II

	Operating temperature
	-15° ~ +45 °C

	Warranty
	5 years

	Net weight
	6.5 kg

	EAN
	8021696365749

	Product code
	365749



UK retail price: £152.00 ex VAT  ·  £182.40 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 24-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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