|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ARCHIMEDE COLLECTION · PENDANTS · INDOOR

Archimede SP Cono Black

Powder coated metal ceiling cap with magnetic closure without screws. PVC cable. Powder coated aluminum diffuser with acrylic optic. Finishes: white, black.

Specification

| Dimensions | Ø 90 × H min 375 / max 6150 mm |
| --- | --- |
| Light source | LED 4W |
| LED lifetime | 50000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 250 lumen |
| IP rating | IP20 (indoor) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 210 lm |
| Beam angle | 24° |
| Dimming | Non-dimmable, On-Off |
| Insulation class | II |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 0.14 kg |
| EAN | 8021696328348 |
| Product code | 328348 |

UK retail price: £70.00 ex VAT  ·  £84.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 22-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.