|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ARIZONA COLLECTION · CEILING LIGHTS · INDOOR

Arizona PL2

Metal frame with satin brass finish. White acid-etched blown glass diffuser with embossed decorative stripes.

Specification

| Dimensions | Ø 320 × H 175 mm |
| --- | --- |
| Lamp holder / power | GX53 max 2 × 9W |
| IP rating | IP20 (indoor) |
| Bulb included | Yes |
| Dimming | Non-dimmable |
| Insulation class | I |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 2.96 kg |
| EAN | 8021696214498 |
| Product code | 214498 |

UK retail price: £225.00 ex VAT  ·  £270.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 22-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.