|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ARMONY COLLECTION · CEILING LIGHTS · INDOOR

Armony PL D75

Matt varnished metal frame. Hanging decorative elements in metal wire with transparent chromed glass beads. Finishes: white.

Specification

| Dimensions | Ø 750 × H 320 mm |
| --- | --- |
| Light source | LED 70W |
| LED lifetime | 30000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 6700 lumen |
| IP rating | IP20 (indoor) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 3280 lm |
| Dimming | 1, TRIAC |
| Insulation class | II |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 10.5 kg |
| EAN | 8021696315812 |
| Product code | 315812 |

UK retail price: £600.00 ex VAT  ·  £720.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.