|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ATOM COLLECTION · OUTDOOR LIGHTING

Atom AP D10 3000K

Powder coated aluminum body. Glass diffusers. Double light beam, up and down with adjustable width and movable wings.

Specification

| Dimensions | L 100 × H 100 × D 100 mm (L length, H height, D depth) |
| --- | --- |
| Light source | Integrated LED 12W |
| LED lifetime | 30000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 1150 lumen |
| IP rating | IP54 (outdoor rated) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 670 lm |
| Dimming | Non-dimmable, On-Off |
| Insulation class | I |
| Operating temperature | -15° ~ +45 °C |
| Warranty | 5 years |
| Net weight | 0.65 kg |
| EAN | 8021696366821 |
| Product code | 366821 |

UK retail price: £71.00 ex VAT  ·  £85.20 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 24-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.