|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · ATRIUM COLLECTION · CEILING LIGHTS · INDOOR

Atrium PL D45

Matt white varnished metal frame. White acid-etched glass diffuser with interlocking fastening system.

Specification

| Dimensions | Ø 450 × H 170 mm |
| --- | --- |
| Light source | LED 22W |
| LED lifetime | 30000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 2200 lumen |
| IP rating | IP20 (indoor) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 1820 lm |
| Dimming | Non-dimmable, On-Off |
| Insulation class | II |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 3.7 kg |
| EAN | 8021696265827 |
| Product code | 265827 |

UK retail price: £160.00 ex VAT  ·  £192.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.