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IDEAL LUX · ATRIUM COLLECTION · CEILING LIGHTS · INDOOR
Atrium PL D45
Matt white varnished metal frame. White acid-etched glass diffuser with interlocking fastening system.
	[image: ]
	[image: ]



Specification
	Dimensions
	Ø 450 × H 170 mm

	Light source
	LED 22W

	LED lifetime
	30000 hours

	Colour temperature
	3000 K

	Light output (LED source)
	2200 lumen

	IP rating
	IP20 (indoor)

	Bulb included
	Integrated LED

	Colour rendering (CRI)
	> 90

	Light output (from fitting)
	1820 lm

	Dimming
	Non-dimmable, On-Off

	Insulation class
	II

	Operating temperature
	0° ~ +40 °C

	Warranty
	5 years

	Net weight
	3.7 kg

	EAN
	8021696265827

	Product code
	265827



UK retail price: £160.00 ex VAT  ·  £192.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-02. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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