|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · DORIS COLLECTION · OUTDOOR LIGHTING

Doris PT1 D30

Multi-greys plastic diffuser with granite effect. Supplied with plug and spike for ground installation.

Specification

| Dimensions | Ø 300 × H 300 mm |
| --- | --- |
| Lamp holder / power | E27 max 1 × 60W |
| IP rating | IP44 (outdoor rated) |
| Bulb included | No, sold separately |
| Dimming | Non-dimmable |
| Insulation class | II |
| Operating temperature | -20° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 1.21 kg |
| EAN | 8021696214009 |
| Product code | 214009 |

UK retail price: £127.00 ex VAT  ·  £152.40 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.