	[image: ]
	SPECIFICATION SHEET
Approved Ideal Lux dealer



IDEAL LUX · GUN COLLECTION · OUTDOOR LIGHTING
Gun PL1
Aluminum body with brushed natural finish or with varnish or various finishes. Pyrex glass diffuser.
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Specification
	Dimensions
	Ø 110 × H 115 mm

	Lamp holder / power
	GU10 max 1 × 28W

	IP rating
	IP55 (outdoor rated)

	Bulb included
	No, sold separately

	Recommended bulb
	253497 Gu10 05W 430Lm 4000K Cri90

	Dimming
	Non-dimmable

	Insulation class
	I

	Warranty
	5 years

	Net weight
	0.49 kg

	EAN
	8021696092324

	Product code
	092324



UK retail price: £54.00 ex VAT  ·  £64.80 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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