|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · GUN COLLECTION · OUTDOOR LIGHTING

Gun PL1

Aluminum body with brushed natural finish or with varnish or various finishes. Pyrex glass diffuser.

Specification

| Dimensions | Ø 110 × H 115 mm |
| --- | --- |
| Lamp holder / power | GU10 max 1 × 28W |
| IP rating | IP55 (outdoor rated) |
| Bulb included | No, sold separately |
| Recommended bulb | 253497 Gu10 05W 430Lm 4000K Cri90 |
| Dimming | Non-dimmable |
| Insulation class | I |
| Warranty | 5 years |
| Net weight | 0.49 kg |
| EAN | 8021696092324 |
| Product code | 092324 |

UK retail price: £54.00 ex VAT  ·  £64.80 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.