|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · LITE COLLECTION · WALL LIGHTS · INDOOR

Lite AP

Aluminium base and body with white, black, nickel or brass finish. Adjustable diffuser. Integrated switch. Recessed installation on flush-mounting box type 502, not included.

Specification

| Dimensions | L 85 × H 85 × D 90 mm (L length, H height, D depth) |
| --- | --- |
| Light source | LED 3W |
| LED lifetime | 20000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 200 lumen |
| IP rating | IP20 (indoor) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 180 lm |
| Beam angle | 23° |
| Dimming | 1, Touch dimmer |
| Insulation class | I |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 0.34 kg |
| EAN | 8021696250106 |
| Product code | 250106 |

UK retail price: £69.00 ex VAT  ·  £82.80 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.