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IDEAL LUX · MIB COLLECTION · OUTDOOR LIGHTING
Mib PL Round 3000K
White powder coated aluminum base. OPALE color plastic diffuser. Integrated LED source.
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Specification
	Dimensions
	Ø 300 × H 50 mm

	Light source
	Integrated LED 18W

	LED lifetime
	35000 hours

	Colour temperature
	3000 K

	Light output (LED source)
	1850 lumen

	IP rating
	IP65 (outdoor rated)

	Bulb included
	Integrated LED

	Colour rendering (CRI)
	> 90

	Light output (from fitting)
	1080 lm

	Beam angle
	110°

	Dimming
	Non-dimmable, On-Off

	Insulation class
	I

	Operating temperature
	-15° ~ +45 °C

	Warranty
	5 years

	Net weight
	1.62 kg

	EAN
	8021696269115

	Product code
	269115



UK retail price: £150.00 ex VAT  ·  £180.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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