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IDEAL LUX · ONION COLLECTION · PENDANTS · INDOOR
Onion SP1 D23
Metal frame finished with brown varnish with metallic effect. Power cable coated with fabric.
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Specification
	Dimensions
	Ø 235 × H min 480 / max 2230 mm

	Lamp holder / power
	E27 max 1 × 60W

	IP rating
	IP20 (indoor)

	Bulb included
	No, sold separately

	Dimming
	Non-dimmable

	Insulation class
	II

	Operating temperature
	0° ~ +40 °C

	Warranty
	5 years

	Net weight
	1.26 kg

	EAN
	8021696205281

	Product code
	205281



UK retail price: £75.00 ex VAT  ·  £90.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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