|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · PAGE COLLECTION · WALL LIGHTS · INDOOR

Page AP Round

White or black powder coated aluminum body. Adjustable diffuser with lens and jointed chrome metal piece.

Specification

| Dimensions | Ø 90 × D 130 mm (L length, H height, D depth) |
| --- | --- |
| Light source | LED 3W |
| LED lifetime | 30000 hours |
| Colour temperature | 3000 K |
| Light output (LED source) | 240 lumen |
| IP rating | IP20 (indoor) |
| Bulb included | Integrated LED |
| Colour rendering (CRI) | > 90 |
| Light output (from fitting) | 180 lm |
| Dimming | Non-dimmable, On-Off |
| Insulation class | I |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 0.32 kg |
| EAN | 8021696142586 |
| Product code | 142586 |

UK retail price: £85.00 ex VAT  ·  £102.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.