|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · SHELL COLLECTION · CEILING LIGHTS · INDOOR

Shell PL3

Plate-worked glass diffuser with grit decoration inside. Glass holder with metal detail. Available versions: clear glass with chrome detail or amber glass with gold detail.

Specification

| Dimensions | Ø 400 × H 120 mm |
| --- | --- |
| Lamp holder / power | E27 max 3 × 60W |
| IP rating | IP20 (indoor) |
| Bulb included | No, sold separately |
| Recommended bulb | 101279 E27 Sfera 4W 3000K Cri80 Trasp |
| Dimming | Non-dimmable |
| Insulation class | I |
| Operating temperature | 0° ~ +40 °C |
| Warranty | 5 years |
| Net weight | 3.64 kg |
| EAN | 8021696140179 |
| Product code | 140179 |

UK retail price: £160.00 ex VAT  ·  £192.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.