|  | SPECIFICATION SHEET Approved Ideal Lux dealer |
| --- | --- |

IDEAL LUX · SNIF COLLECTION · OUTDOOR LIGHTING

Snif AP1 Round

Varnished die-cast aluminum body. Transparent Pyrex glass up-and-down double diffuser. Available finishes: anthracite, white, grey or black.

Specification

| Dimensions | L 110 × H 110 × D 155 mm (L length, H height, D depth) |
| --- | --- |
| Lamp holder / power | G9 max 1 × 40W |
| IP rating | IP54 (outdoor rated) |
| Bulb included | No, sold separately |
| Recommended bulb | 307879 G9 4.0W 4000K Cri80 |
| Dimming | Non-dimmable |
| Insulation class | I |
| Operating temperature | -15° ~ +45 °C |
| Warranty | 5 years |
| Net weight | 0.75 kg |
| EAN | 8021696061467 |
| Product code | 061467 |

UK retail price: £50.00 ex VAT  ·  £60.00 inc VAT

Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.

Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.