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IDEAL LUX · TRONCO COLLECTION · OUTDOOR LIGHTING
Tronco AP1
Varnished die-cast aluminum body with different finishes: anthracite, white, coffee, grey or black. Pyrex glass diffuser with aluminum elements inside.
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Specification
	Dimensions
	L 110 × H 250 × D 180 mm  (L length, H height, D depth)

	Lamp holder / power
	E27 max 1 × 42W

	IP rating
	IP44 (outdoor rated)

	Bulb included
	No, sold separately

	Recommended bulb
	153957 E27 Sfera 4W 4000K Cri80 Trasp

	Dimming
	Non-dimmable

	Insulation class
	I

	Operating temperature
	-15° ~ +45 °C

	Warranty
	5 years

	Net weight
	1.11 kg

	EAN
	8021696027005

	Product code
	027005



UK retail price: £65.00 ex VAT  ·  £78.00 inc VAT
Trade, project and quantity pricing on request. Delivery and lead time confirmed at order.
Specification from the Ideal Lux technical sheet rev. 21-07-2026, checked 2026-10-01. Manufacturer data may change; confirm before ordering. Images © Ideal Lux.
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